April 8, 2026 GTWSA Meeting

Girard Township Municipal Building

6:30 pm

Following the Pledge of Allegiance the meeting was called to order by Chairman Ray Penkalski

Present:

Chairman: Ray Penkalski, Vice Chairman: Bruce Vollbrecht, Treasurer: Jodi Fairchild, Secretary: Karen Mead; Member: David Sterrett; Solicitor: Pat Kennedy, Township Supervisor; Pete Dion, Engineer: Ashley Porter

Birchdale resident: Michael Platz

Public Comment on Agenda items:  none

Approval of the consent of agenda including:

Approval of January minutes (to include organizational and January minutes):	1/7/2026

Motion: B Vollbrecht	2nd	J Fairchild		Vote unanimous

Old Business

Intermunicipal Agreement update / Fairview Township Sewer Authority (FTSA) draft 3/19/2026

Discussion regarding changes to be drafted by Solicitor P Kennedy prior to re-submitting the Agreement to Fairview Township Sewer Authority this month

P Kennedy will mark up the draft with changes and send to FTWA for acceptance

Mark Shaw at Millcreek		 –	 Pat has not spoken to him yet

Jason Check Erie City solicitor	 – 	Pat has not spoken to him yet

A Porter is working on capacity approval for GT through Erie City and paperwork

New Business

NONE

Correspondence

Knox 2026 Bidding threshold document for future reference (closer to construction)

Draft 3/19/2026 Fairview Township Water Authority

Engineer Report:

Porter Engineering is continueing to investigate the location of septic and undersized lines/pipes and will report back to  GTWSA.

Birchdale:

A Porter reported the investigation continues after the Homeowner Association was sent letters informing residence of impending site visits to locate septic tanks and verify piping/lines. Bruce V will be part of the Porter Engineering investigative team. DEP has been updated.

A Porter reported  DEP Donna Uline Smith stated: The present system was not originally constructed in compliance with drawings (8” lines and slope) – In reality many of the lines are 6”.

A Porter reported:  GAPS in the present plan

- The present systems appear to have no record with the HOA or regulators representing  what was installed.

- DEP defaults to the health department who also have no records.

- It may make sense to abandon the septic tanks and convey full sewage instead of liquid only due to undersized lines

D Sterrett stated Lindy Platz and Tiffanny Kramer need to be aware that B Vollbrecht and Dan Thum will be on site investigating if anyone calls the Girard Township

A Porter reported the challenges of the present system:

- Original drawings indicate there are manholes at the mainline junctions. A Porter reported there are no manholes at the main line junctions.

- There was a separations of systems (2 pump stations: plaza/behind plaza) during an undocumented repair

B Vollbrecht suggested doing a dye test which will indicate if the systems are working properly.

Solicitor Report

P Kennedy will create a draft to be viewed by the GTWSA prior to sending it to the FTWA

Public comment

Michael Platz reported #2 HOA gets pumped every 3 years and there are records showing this.

A Porter stated HOA #1 appears to get pumped regularly however, there are no records showing this.

Condos indicated they send out notices to pump – however there are no records showing this.

A Porter reported exposed septic tanks are easiest to pump. More information and pump reports need to be gathered

Adjourned: 7:18 pm     Motion:	 B Vollbrecht	2nd	J Fairchild		Vote: unanimous

Next meeting date:  Wednesday, May 13, 2026

Respectfully submitted by Karen Mead, secretary